## Sheet1
Number incident | Priority | State Actuel | Description | Assignement_Groupe | Date Création
INC0013370 | 3 | 8 | RF Unit VSWR Threshold Crossed | OUI | 2024-05-09 14:04:41
INC0013429 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:47
INC0013499 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-09 14:07:01
INC0013422 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:39
INC0013452 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:11
INC0013396 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:10
INC0013506 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:09
INC0013495 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:57
INC0013400 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:05:15
INC0013433 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-09 14:05:51
INC0013378 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:50
INC0013517 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:21
INC0013532 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:37
INC0013356 | 3 | 8 | BBU Fan Stalled | OUI | 2024-05-09 14:04:26
INC0013375 | 3 | 8 | RF Unit Temperature Unacceptable | OUI | 2024-05-09 14:04:47
INC0013353 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:22
INC0013397 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:11
INC0013488 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:49
INC0013545 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:51
INC0013431 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:49
INC0013481 | 3 | 8 | KPI Exceed Threshold | OUI | 2024-05-09 14:06:42
INC0013526 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:07:31
INC0013470 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:06:30
INC0013365 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:36
INC0013477 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:06:38
INC0013493 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:55
INC0013450 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:09
INC0013361 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:31
INC0013454 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:13
INC0013550 | 3 | 8 | Cabinet Air Inlet Temperature Unacceptable | OUI | 2024-05-09 14:07:56
INC0013501 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:03
INC0013463 | 3 | 8 | CSL Fault | OUI | 2024-05-09 14:06:23
INC0013447 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:06
INC0013478 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:39
INC0013467 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:27
INC0013486 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:47
INC0013399 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:14
INC0013535 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:41
INC0013494 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:56
INC0013414 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:05:30
INC0013491 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:53
INC0013437 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:55
INC0013548 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:54
INC0013352 | 5 | 8 |  | NON | 2024-05-09 14:04:21
INC0013521 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:25
INC0013426 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:43
INC0013472 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:06:32
INC0013487 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:48
INC0013418 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:34
INC0013374 | 3 | 8 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-09 14:04:46
INC0013480 | 3 | 8 | KPI Exceed Threshold | OUI | 2024-05-09 14:06:41
INC0013468 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:06:28
INC0013483 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:44
INC0013360 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:30
INC0013529 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:34
INC0013364 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:35
INC0013404 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:19
INC0013434 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-09 14:05:52
INC0013465 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:25
INC0013549 | 3 | 8 | SCTP Link Congestion | OUI | 2024-05-09 14:07:55
INC0013415 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:05:31
INC0013449 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:06:08
INC0013423 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:40
INC0013438 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:05:56
INC0013503 | 3 | 8 | CSL Fault | OUI | 2024-05-09 14:07:05
INC0013386 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:59
INC0013507 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:10
INC0013420 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:37
INC0013379 | 3 | 8 | BSS Internal Voice Channel Abnormal | OUI | 2024-05-09 14:04:51
INC0013409 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:25
INC0013519 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:23
INC0013530 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:35
INC0013462 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:22
INC0013504 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:06
INC0013522 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:27
INC0013357 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:27
INC0013497 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:59
INC0013383 | 3 | 8 | BSS Internal Voice Channel Abnormal | OUI | 2024-05-09 14:04:56
INC0013398 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:12
INC0013373 | 3 | 8 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-09 14:04:45
INC0013513 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:07:16
INC0013482 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:43
INC0013440 | 3 | 8 | UMTS Cell Max DL Power Mismatch | OUI | 2024-05-09 14:05:58
INC0013459 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-09 14:06:19
INC0013436 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:54
INC0013366 | 3 | 8 | GSM Cell Manually Blocked | OUI | 2024-05-09 14:04:37
INC0013444 | 3 | 8 | Monitoring Device Maintenance Link Failure | OUI | 2024-05-09 14:06:02
INC0013475 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:35
INC0013432 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:50
INC0013479 | 3 | 8 | KPI Exceed Threshold | OUI | 2024-05-09 14:06:40
INC0013391 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:05
INC0013471 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:06:31
INC0013384 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:57
INC0013385 | 1 | 8 | Battery disc | OUI | 2024-05-09 14:04:58
INC0013403 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:05:18
INC0013359 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:29
INC0013407 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:22
INC0013363 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:34
INC0013540 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:46
INC0013460 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:20
INC0013448 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:06:07
INC0013392 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:06
INC0013544 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:50
INC0013445 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:04
INC0013464 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:24
INC0013524 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:29
INC0013514 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:07:17
INC0013537 | 3 | 8 | CSL Fault | OUI | 2024-05-09 14:07:43
INC0013469 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:06:29
INC0013442 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:00
INC0013518 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:22
INC0013389 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:02
INC0013515 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-09 14:07:19
INC0013473 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:06:33
INC0013492 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:54
INC0013393 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-09 14:05:07
INC0013408 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:24
INC0013500 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:07:02
INC0013533 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:38
INC0013371 | 3 | 8 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-09 14:04:42
INC0013430 | 1 | 8 | Battery disc | OUI | 2024-05-09 14:05:48
INC0013511 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:14
INC0013484 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:45
INC0013382 | 3 | 8 | UMTS Cell Max DL Power Mismatch | OUI | 2024-05-09 14:04:55
INC0013427 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:44
INC0013542 | 3 | 8 | Power Module Abnormal | OUI | 2024-05-09 14:07:48
INC0013394 | 3 | 8 | Power Module Abnormal | OUI | 2024-05-09 14:05:08
INC0013538 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:44
INC0013439 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:57
INC0013474 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:06:34
INC0013534 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:40
INC0013466 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:26
INC0013512 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:07:15
INC0013546 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:52
INC0013489 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:06:50
INC0013354 | 1 | 8 | Battery disc | OUI | 2024-05-09 14:04:23
INC0013387 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:00
INC0013508 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:11
INC0013376 | 3 | 8 | Sensor Failure | OUI | 2024-05-09 14:04:48
INC0013458 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:18
INC0013388 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:01
INC0013527 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:32
INC0013380 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:52
INC0013395 | 3 | 8 | GSM KPI Exceed Threshold | OUI | 2024-05-09 14:05:09
INC0013531 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:36
INC0013413 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-09 14:05:29
INC0013428 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:45
INC0013490 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:52
INC0013505 | 3 | 8 | High temperature | OUI | 2024-05-09 14:07:07
INC0013369 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:40
INC0013417 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:05:33
INC0013402 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:05:17
INC0013377 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:49
INC0013425 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:42
INC0013455 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:14
INC0013539 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:45
INC0013547 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:53
INC0013476 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:36
INC0013441 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:59
INC0013456 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:15
INC0013502 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:04
INC0013536 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-09 14:07:42
INC0013510 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:13
INC0013528 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:33
INC0013381 | 3 | 8 | UMTS Cell Max DL Power Mismatch | OUI | 2024-05-09 14:04:54
INC0013411 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:27
INC0013401 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:05:16
INC0013446 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:05
INC0013367 | 3 | 8 | GSM Cell Manually Blocked | OUI | 2024-05-09 14:04:38
INC0013419 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:05:36
INC0013496 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:58
INC0013525 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:07:30
INC0013541 | 3 | 8 | Monitoring Device Maintenance Link Failure | OUI | 2024-05-09 14:07:47
INC0013412 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:28
INC0013457 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:16
INC0013453 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:12
INC0013461 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:21
INC0013390 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:04
INC0013435 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:53
INC0013424 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:41
INC0013485 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:46
INC0013516 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:20
INC0013372 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-09 14:04:44
INC0013416 | 3 | 8 | CSL Fault | OUI | 2024-05-09 14:05:32
INC0013405 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:20
INC0013368 | 3 | 8 | GSM Cell Manually Blocked | OUI | 2024-05-09 14:04:39
INC0013443 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:01
INC0013358 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:28
INC0013451 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:10
INC0013543 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:49
INC0013520 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:24
INC0013551 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:57
INC0013498 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:00
INC0013362 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:32
INC0013523 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:28
INC0013406 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:21
INC0013355 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:25
INC0013509 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:12
INC0013421 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:38
INC0013410 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:26

## Visualisation1
Étiquettes de lignes | Nombre de Description
Adjacent Node IP Address Ping Failure | 10
Battery disc | 3
BBU CPRI Optical Module Fault | 5
BBU Fan Stalled | 1
BSS Internal Voice Channel Abnormal | 2
Cabinet Air Inlet Temperature Unacceptable | 1
CSL Fault | 4
GSM Cell Manually Blocked | 3
GSM Cell out of Service | 16
GSM KPI Exceed Threshold | 1
High temperature | 23
KPI Exceed Threshold | 3
Monitoring Device Maintenance Link Failure | 2
NodeB Unavailable | 4
Power Module Abnormal | 2
RF Unit RX Channel RTWP/RSSI Unbalanced | 3
RF Unit Temperature Unacceptable | 1
RF Unit VSWR Threshold Crossed | 1
SCTP Link Congestion | 1
SCTP Link Fault | 15
Sensor Failure | 1
Statistical Alarm | 10
UMTS Cell Blocked | 9
UMTS Cell Max DL Power Mismatch | 3
UMTS Cell MC-HSDPA Function Fault | 38
UMTS Cell Unavailable | 37
(vide)
Total général | 199